## Slide 1
CONTROL OF A THREE-PHASE HYBRID CONVERTER FOR A PV CHARGING STATION
PRSENTED BY
D.LOHITH KUMAR - 18AT1A0223
K.KARTHIK - 19AT5A0222
Y.VIVEKA VARDHAN - 19AT5A0211
P.CHINNA NAGASIVUDU - 18AT1A0230
Under the guidance of
M.Venkateswarlu M.Tech, (Ph.D)
G PULLIAIAH COLLEGE OF ENGINEERING AND TECHNOLOGY

## Slide 2
To simulate and control a Three phase hybrid converter for a PV Charging station using MATLAB Simulink.
OBJECTIVE

## Slide 3
ABSTRACT
A new Hybrid Converter is proposed, to replace a DC/DC Boost converter and a DC/AC converter to reduce conversion stages and switching losses.
The control strategies used in this project are incremental conductance method, vector control method along with fuzzy logic control.
The control of the hybrid converter is designed to realize maximum power point tracking (MPPT) for PV, DC bus voltage regulation, and AC voltage or reactive power regulation.

## Slide 4: INTRODUCTION
The environmental and economic advantages of PHEV lead to the increase in number of production and consumption
Research has been conducted on developing a charging station by integrating a three-phase ac grid.
The comparison of different PHEV chargers topologies and techniques are reviewed. However, a large-scale penetration of PHEVs may add more pressure on the grid during charging periods.

## Slide 5
The charging management is developed by considering the grid’s loading limit.
For this type of systems, it requires controlling at least three different power electronic converters to charge PHEVs.
Each converter needs an individual controller, which increases complexity and power losses of the system.
The main objective is to implement such a multi-port converter in a PV charging station for PHEVs and design the controller.

## Slide 6
Block diagram

## Slide 7
PV SYSTEM
A PV system directly converts sunlight into electricity.
A set of connected cells form a panel. Panels are generally composed of series cells in order to obtain large output voltages.
A PV array may be either a panel or set of panels connected in series(or) parallel to form large PV system.

## Slide 8
PV cell is basically a semi conductor diode whose p-n junction is exposed to sun light.
When sun light hits the PV cell it is absorbed by the semi conductor material and the absorption of sun light pushes an free electron which results in generation of electricity.
The electricity produced from the PV array is in the form of direct current.
PV SYSTEM MODELLING

## Slide 9
Equivalent circuit of a PV cell

## Slide 10
I-V characteristics of the PV module under different solar irradiation levels

## Slide 11
P-V characteristics of the PV module under different solar irradiation levels

## Slide 12
I-V characteristics of the PV module at different surface temperatures

## Slide 13
Hybrid Converter
BOOST CONVERTER :
Boost converter is capable of stepping up the input voltage upto
certain extent when a high voltage gain is required then its
boosting capacity is reduced and also its efficiency is reduced.
BOOST CONVERTER

## Slide 14
In concern with achieving of high conversion ratio with high efficiency many high gain enhancement techniques were investigated.
Inspired by all the mentioned topologies a new Hybrid Converter (HBC) with single switch and single inductor along with Bipolar Voltage multiplier.
In comparison with all the said topologies, this HBC topology has smaller output ripple and higher components utilization rate with respect to conversion ratio.

## Slide 15
Proposed Circuit Diagram

## Slide 16
Control blocks of the HBC-based PV charging station

## Slide 17
MPPT technique for PV using modified incremental conductance (IC)-PI algorithm.

## Slide 18
A single battery cell circuit model with off-board charging structure using FUZZY logic control

## Slide 19
SIMULATION RESULTS
MATLAB circuit for the topology of three phase HBD-based PV charging station

## Slide 20
Control system design of hybrid based PV charging station

## Slide 21
Performance of a modified IC-PI MPPT algorithm when solar irradiance variation is applied.

## Slide 22
Performance of the dc voltage control in the vector control.

## Slide 23
Performance of a proposed vector control to supply or absorb reactive power independently.

## Slide 24
The modified PWM signals and the switching sequence

## Slide 25: CONCLUSION
Control of three-phase HBC in a PV charging station is proposed in this paper. The three-phase HBC can save switching loss by integration a dc/dc booster and a dc/ac converter into a single converter structure. A new control for the three-phase HBC is designed to achieve MPPT, dc voltage regulation and reactive power tracking. The MPPT control utilizes modified incremental conductance-PI based MPPT method.

## Slide 26
Thank you